NOTE:  The Section 01050 "Field Engineering” includes requirements for contractor provision of survey and field engineering services for a project.”.  If multiple contracts, responsibility for Work of this section should be identified in Section 01010 “Summary of Work”.  Delete them if they do not apply.

The header and footer for each page of the Project Manual shall match the format, font (Times New Roman), size (11 pt), font style (BOLD & CAPITALIZED) and line boarders, of the header and footer shown herein.. The header of each page shall contain the Section Number, the Section Title, and the page number & number of pages as shown herein. The footer shall contain the project number in the right hand side as shown herein, including the Table of Contents.  Division 0 and 1 contain a revision date in the left side of the footer This date is to remain as it is for Department informational purposes only and should not be altered by the Architect/Engineer.

DO NOT include Paragraphs or parts of Paragraphs in the project manual, which have no applicability to the specific project.  KEEP IN NUMERICAL SEQUENCE, If A PART IS NOT USED OR ELIMINATED THEN RENUMBER THE FOLLOWING SECTIONS.  IF A PART IS NOT APPLICABLE TO A SPECIFIC PROJECT THEN DESIGNATE IT AS (NOT APPLICABLE).  Also, please review the General Conditions carefully and coordinate the requirements of those Articles including the Definitions.

# PART 1 - GENERAL

## RELATED DOCUMENTS

### A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

## SUMMARY

NOTE:  Revise paragraph below if the project is constructed under multiple prime contracts.

### General:  This Section specifies administrative and procedural requirements for field-engineering services including, but not limited to, the following:

NOTE:  Delete engineering services not required.  Civil and structural engineering services in this section are basic requirements only.  Include special requirements, such as concrete form-work design or hydraulic design for control of groundwater, in the appropriate specification section.  Add or delete examples as applicable.

#### Land survey work.

#### Civil Engineering services.

#### Damage surveys.

#### Geo-technical monitoring.

### Related Sections:  The following Sections contain requirements that relate to this Section:

NOTE:  Revise sub-paragraph below if the project is constructed under multiple prime contracts.

#### Division 1 Section 01040 "Coordination" for procedures for coordinating field engineering with other construction activities.

#### Division 1 Section 01300 "Submittals" for submitting Project record surveys.

NOTE:  Revise subparagraph below to suit project requirements.

#### Division 1 Section 01700 "Project Closeout" for submitting final property survey with Project Record Documents and recording of Owner-accepted deviations from indicated lines and levels.

## SUBMITTALS

NOTE:  Revise subparagraphs below to suit project requirements.

### Certificates:  Submit a certificate from his Land Survey stating that the control information furnished by the Owner, is accurate or shall identify inaccuracies, if they exist. The Contractor shall not take advantage of errors, which may be included in the control information.  Stakes and markings shall be preserved.

### Final Property Survey:  Prepare and submit 10 copies of the final property survey.

### Project Record Documents:  Submit a record of Work performed and record survey data as required under provisions of "Submittals" and "Project Closeout" Sections.

## QUALITY ASSURANCE

NOTE:  Revise subparagraphs below to suit project requirements.

### Provide field engineering services to establish and record grades, lines and elevations.

### The Contractor shall retain a Land Surveyor registered by the State of Connecticut to confirm State furnished base lines and benchmarks, lay out the building, underground utility lines and other site work from the information furnished by the Owner and to establish and record the necessary elevations, at no additional cost to the State.

# PART 2 - PRODUCTS (Not Applicable)

# PART 3 - EXECUTION

## 3.1	EXAMINATION

### Identification:  The Owner will identify two base lines on the Contract Drawings.

### Verify layout information shown on the Drawings, in relation to the property survey and existing benchmarks.  Notify the Construction Administrator of any discrepancies immediately in writing. before proceeding to lay out the Work.  Locate and protect existing benchmarks and base line.  Preserve permanent reference points during construction.

#### Do not change or relocate benchmarks or base line without prior written approval.  Promptly report lost or destroyed reference points or requirements to relocate reference points because of necessary changes in grades or locations.

#### Promptly replace lost or destroyed Project baseline benchmarks.  Base replacements on the original survey control points.

NOTE:  Revise paragraphs below to reflect the number of permanent benchmarks required to accommodate project requirements.

### Establish and maintain a sufficient quantity of (minimum of 2 permanent) benchmarks on the site, referenced to data established by Owner supplied information.

#### 1.	Record benchmark locations, with horizontal and vertical data, on Project Record Documents.

NOTE:  Revise paragraph and subparagraph below as necessary to suit project requirements.  Check with local authorities and utility companies.  Coordinate with Division 2 Sitework sections.

### Existing Utilities and Equipment:  The existence and location of underground and other utilities and construction indicated as existing are not guaranteed.  Before beginning sitework, investigate and verify the existence and location of underground utilities and other construction.

#### 1.	Prior to construction, verify the location and invert elevation at points of connection of sanitary sewer, storm sewer, and water-service piping.  Notify the Construction Administrator of any discrepancies prior to proceeding.

## 3.2	PERFORMANCE

### Work from lines and levels established by the property survey.  Establish benchmarks and control points to set lines and levels at each story of construction and elsewhere as needed to locate each element of the Project.  Calculate and measure required dimensions within indicated or recognized tolerances.  Do not scale Drawings to determine dimensions.

#### Advise entities engaged in construction activities of benchmarks and control points for their use.

#### As construction proceeds, check every major element for line, level, and plumb.

### Surveyor's Log: Maintain a surveyor's log of control and other survey work.  Make this log available for reference.

#### Record deviations from required lines and levels, and advise the Construction Administrator when deviations that exceed indicated or recognized tolerances are detected.  On Project Record Drawings, record deviations that are accepted and not corrected.

NOTE:  Retain subparagraph below to suit project requirements.

#### On completion of foundation walls, major site improvements, underground utilities, and other Work requiring field-engineering services, prepare a certified survey showing dimensions, locations, angles, elevations of construction. as-built locations and sitework.

### Site Improvements:  Locate and lay out site improvements, including pavements, stakes for grading, fill and topsoil placement, utility slopes, and invert elevations.

### Building Lines and Levels:  Locate and lay out batter boards for structures, building foundations, column grids and locations, floor levels, and control lines and levels required for mechanical and electrical work.

NOTE:  Revise paragraphs below to suit project requirements.

### Existing Utilities:  Furnish information necessary to adjust, move, or relocate existing structures, utility poles, lines, services, or other appurtenances located in or affected by construction.  Coordinate with local authorities having jurisdiction.

### Final Property Survey:  Prepare a final property survey showing significant features (real property) for the Project.  Include on the survey a certification, signed by the surveyor, that principal metes, bounds, lines, and levels of the Project are accurately positioned as shown on the survey.

NOTE:  Insert other special field-engineering requirements as needed, such as damage surveys, settlement surveys and reports, environmental impact surveys, and similar requirements.

END OF SECTION 01050