NOTE:  This Section has been developed to deal specifically with construction and demolition waste management and is required for LEEDS Certification.

NOTE:  Depending on the size and complexity of the project, incorporate all construction and demolition waste information and requirements into a single, stand alone section, Section 01590 – Construction Waste Management, OR distribute construction and demolition waste management information and requirements throughout related documents and sections of the Project Manual.  List all related sections.

The header and footer for each page of the Project Manual shall match the format, font (Times New Roman), size (11 pt), font style (BOLD & CAPITALIZED) and line boarders, of the header and footer shown herein.. The header of each page shall contain the Section Number, the Section Title, and the page number & number of pages as shown herein. The footer shall contain the project number in the right hand side as shown herein, including the Table of Contents.  Division 0 and 1 contain a revision date in the left side of the footer This date is to remain as it is for Department informational purposes only and should not be altered by the Architect/Engineer.

NOTE:  If you specify the use of an alternate in order to obtain cost information related to job site recycling, delete requirements in this section for the Contractor to develop a draft waste management plan.  If you did not specify an alternate in order to determine recycling cost information, the draft waste management plan outlined in this section should be used to estimate the cost of recycling.

NOTE:  Edit this section to suit project and location.  Delete or edit references to waste disposal in other sections that conflict with the provisions of this section.

# PART 1 - GENERAL

## RELATED DOCUMENTS

### A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

## SUMMARY

### This Section includes requirements for waste management goals, waste management plan and management plan implementation.

NOTE:  Modify paragraph above to suit specific project requirements.

### Related Sections:

NOTE:  Modify list below to suit specific project requirements.

#### Division 1 Section 01010 – “Summary of Work”.

#### Division 1 Section 01019 – “Contract Considerations”.

#### Division 1 Section 01200 – “Project Meetings”.

#### Division 1 Section 01300 – “Submittals”.

#### Division 1 Section 01400 – “Quality Control”.

#### Division 1 Section 01500 – “Construction Facilities and Temporary Controls”.

#### Division 1 Section 01600 – “Materials and Equipment”.

#### Division 1 Section 01631 – “Equals and Substitutions”.

#### Division 1 Section 01700 – “Contract Closeout”.

## DEFINITIONS

### Construction Waste:  Solid wastes such as building materials, packaging and rubble resulting from construction, paving and infrastructure.

### Recyclable Materials:  Products and materials that can be recovered and remanufactured into a new product.  Recyclable materials include, but are not limited to, the following:

#### Metals (ferrous and non-ferrous), including banding, metal studs, ductwork, and piping.

#### Asphaltic concrete paving.

#### Portland cement concrete.

#### Gypsum products.

#### Paper and cardboard.

#### Wood products, including structural, finish, crates, and pallets.

#### Brick and masonry.

#### Carpet and padding.

#### Plastics.

#### Copper wiring.

### Recycling Facility:  A business that specializes in collecting, handling, processing, distributing, or remanufacturing waste materials generated by new construction projects, into products or materials that can be used for this project or by others.

### Salvage and Reuse:  Existing usable product or material that can be saved and reused in some manner on the project site.  Materials for reuse must be approved by the Architect.  Materials that can be salvaged and reused must comply with applicable technical specifications and include, but are not limited to, the following:

#### Dimensional lumber and other wood products.

#### Structural steel.

#### Soil.

#### Masonry products.

#### Plants.

### Salvage for Resale:  Existing usable product that can be saved and removed intact (as is) from the project site to another site for resale to others without remanufacturing.

## WASTE MANAGEMENT GOALS

### The Owner has established that this Project shall generate the least amount of waste possible and that processes that ensure the generation of as little waste as possible due to error, poor planning, breakage, mishandling, contamination, or other factors shall be employed.

### The Contractor shall use all means available to divert the greatest extent practical and economically feasible, construction waste from landfills and incinerators.

### Of the inevitable waste that is generated, as many of the waste materials as economically feasible shall be reused, salvaged, or recycled.  Waste disposal in landfills shall be minimized.

### With regard to these goals the Contractor shall develop, for the Architect's review, a Waste Management Plan for this Project.

### Take a pro-active, responsible role in management of construction waste and require all subcontractors, vendors, and suppliers to participate in the effort.  Establish a construction waste management program that includes the following categories:

#### Minimizing packaging waste.

#### Salvage and reuse.

#### Salvage for resale or donation.

#### Recycling.

#### Disposal.

## WASTE MANAGEMENT PLAN

### Draft Waste Management Plan:  Within 30 calendar days after receipt of Notice of Award of Bid, or prior to any waste removal, whichever occurs sooner, the Contractor shall submit to the Owner and Architect a Draft Waste Management Plan.  The Draft Plan shall contain the following:

NOTE:  Modify list below to comply with specific project requirements.

#### 1.Analysis of the proposed jobsite waste to be generated, including types and quantities.

#### Landfill options: The name of the landfill(s) where trash will be disposed of, the applicable landfill tipping fee(s), and the projected cost of disposing of all Project waste in the landfill(s).

#### Alternatives to Landfilling:  A list of each material proposed to be salvaged, reused, or recycled during the course of the Project, the proposed local market for each material, and the estimated net cost savings or additional costs resulting from separating and recycling (versus landfilling) each material.  "Net" means that the following have been subtracted from the cost of separating and recycling:

##### a. Revenue from the sale of recycled or salvaged materials and

##### b.	Landfill tipping fees saved due to diversion of materials from the landfill.  The list of these materials is to include, at minimum, the following materials:

NOTE:  List below materials applicable to project and location.  The list of materials should include at minimum the materials listed in 1) through 9) below.  Add other materials relevant to local area.  Examples may include drywall; plastic buckets; carpet and carpet pad trim; paint; asphalt roofing shingles; vinyl siding; plastic sheeting; and rigid foam insulation.

###### Cardboard.

###### Clean dimensional wood.

###### Beverage containers.

###### Land clearing debris.

###### Concrete.

###### Bricks.

###### Concrete Masonry Units (CMU).

###### Asphalt.

###### Metals from banding, stud trim, ductwork, piping, rebar, roofing, other trim, steel, iron, galvanized sheet steel, stainless steel, aluminum, copper, zinc, lead, brass, and bronze.

### Resources for Development of Waste Management Plan:  The following sources may be useful in developing the Draft Waste Management Plan:

NOTE:  Edit list of recycling resources below to suit project.

#### Recycling Haulers and Markets:  Local haulers and markets for recyclable materials.  For more information, contact the State Recycling Department.

### Final Waste Management Plan:  Once the Owner has determined which of the recycling options addressed in the draft Waste Management Plan are acceptable, the Contractor shall submit, within 10 calendar days a Final Waste Management Plan.  The Final Waste Management Plan shall contain the following:

#### 1.	Analysis of the proposed jobsite waste to be generated, including types and quantities.

#### Landfill options: The name of the landfill(s) where trash will be disposed of, the applicable landfill tipping fee(s), and the projected cost of disposing of all Project waste in the landfill(s).

#### Alternatives to Landfilling:  A list of the waste materials from the Project that will be separated for reuse, salvage, or recycling.

#### Meetings:  A description of the regular meetings to be held to address waste management.  Refer to Section 01200 - Project Meetings.

#### Materials Handling Procedures:  A description of the means by which any waste materials identified in item (3) above will be protected from contamination, and a description of the means to be employed in recycling the above materials consistent with requirements for acceptance by designated facilities.

#### Transportation:  A description of the means of transportation of the recyclable materials (whether materials will be site-separated and self-hauled to designated centers, or whether mixed materials will be collected by a waste hauler and removed from the site) and destination of materials.

## WASTE MANAGEMENT PLAN IMPLEMENTATION

NOTE:  Depending on the size and complexity of the project, either designate a full-time construction waste manager or assign responsibility to the job supervisor or appropriate personnel.

### Manager:  The Contractor shall designate an on-site party (or parties) responsible for instructing workers and overseeing and documenting results of the Waste Management Plan for the Project.

### Distribution:  The Contractor shall distribute copies of the Waste Management Plan to the Job Site Foreman, each Subcontractor, the Owner, and the Architect.

### Instruction:  The Contractor shall provide on-site instruction of appropriate separation, handling, and recycling, salvage, reuse, and return methods to be used by all parties at the appropriate stages of the Project.

### Separation Facilities:  The Contractor shall lay 	out and label a specific area to facilitate separation of materials for potential recycling, salvage, reuse, and return.  Recycling and waste bin areas are to be kept neat and clean and clearly marked in order to avoid contamination of materials.

### Hazardous Wastes:  Hazardous wastes shall be separated, stored, and disposed of according to local regulations.

### Application for Progress Payments:  The Contractor shall submit with each Application for Progress Payment a Summary of Waste Generated by the Project.  Failure to submit this information shall render the Application for Payment incomplete and shall delay Progress Payment.  The Summary shall be submitted on a form acceptable to the Owner and shall contain the following information:

#### The amount (in tons or cubic yards) of material landfilled from the Project, the identity of the landfill, the total amount of tipping fees paid at the landfill, and the total disposal cost. Include manifests, weight tickets, receipt, and invoices.

#### For each material recycled, reused, or salvaged from the Project: the amount (in tons or cubic yards), the date removed from the jobsite, the receiving party, the transportation cost, the amount of any money paid or received for the recycled or salvaged material, and the net total cost or savings of salvage or recycling of each material shall be indicated.  Attach manifests, weight tickets, receipts, and invoices.

# PART 2 – PRODUCTS

# (Not Applicable)

# PART 3 – EXECUTION

## 3.1	SEPARATION OF RECYCLABLE WASTE MATERIALS

### Provide the necessary containers and bins, to facilitate the waste management program, that are clearly and appropriately marked.  Prevent contamination of recyclable materials from incompatible products and materials.  Separate construction waste at the project site by one of the following methods:

#### Source Separated Method:  Waste products and materials, that are recyclable, are separated from trash and sorted into appropriately marked separate containers and then transported to the respective recycling facility for further processing.  Trash is transported to a landfill or incinerator.

#### Co-Mingled Method:  All construction waste is placed into a single container and then transported to a recycling facility where the recyclable materials are sorted and processed and the remaining trash is transported to a landfill or incinerator.

#### Other methods proposed by the Contractor and approved by the Owner.

END OF SECTION 01575