NOTE:  The Section 01631 "Equals and Substitutions”  includes detailed procedural requirements for handling and processing requests for equals and substitutions for a product or system for a specified product or system.  INDIVIDUAL SPECIFICATION SECTIONS WHICH INDICATE THAT A PRODUCT OR SYSTEM EQUAL AND SUBSTITUTION IS PERMISSIBLE MUST REFERENCE THIS SECTION.  ”Revise paragraphs carefully to reflect specific project requirements, or delete them if they do not apply.”

NOTE:  All specification sections must list at a minimum, 3 manufacturers for all products.  The use of one named manufacturer and or equal as well as the use of a performance specification is not allowed.  All products specified in Divisions 2-16 must list the order of preference of all products, (If product no. 1 is first choice) all equals must be equivalent to the first manufacturer listed in the specific specification section.

The header and footer for each page of the Project Manual shall match the format, font (Times New Roman), size (11 pt), font style (BOLD & CAPITALIZED) and line boarders, of the header and footer shown herein.. The header of each page shall contain the Section Number, the Section Title, and the page number & number of pages as shown herein. The footer shall contain the project number in the right hand side as shown herein, including the Table of Contents.  Division 0 and 1 contain a revision date in the left side of the footer This date is to remain as it is for Department informational purposes only and should not be altered by the Architect/Engineer.

DO NOT include Paragraphs or parts of Paragraphs in the project manual, which have no applicability to the specific project.  KEEP IN NUMERICAL SEQUENCE, If A PART IS NOT USED OR ELIMINATED THEN RENUMBER THE FOLLOWING SECTIONS.  IF A PART IS NOT APPLICABLE TO A SPECIFIC PROJECT THEN DESIGNATE IT AS (NOT APPLICABLE).  Also, please review the General Conditions carefully and coordinate the requirements of those Articles including the Definitions.

# PART 1 - GENERAL

## RELATED DOCUMENTS

### A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

## SUMMARY

### This Section includes administrative and procedural requirements for handling requests for equals and substitutions made after award of the Contract.

### Related Sections:  The following Sections contain requirements that relate to this Section:

#### Division 1 Section 01095 "Reference Standards and Definitions" specifies the applicability of industry standards to products specified.

#### Division 1 Section 01300 "Submittals" specifies requirements for submitting the Contractor's Construction Schedule and the Submittal Schedule.

#### Division 1 Section 01600 "Materials and Equipment" specifies requirements governing the Contractor's selection of products and product options.

## DEFINITIONS

NOTE:  Retain paragraph below.  These definitions refer specifically to contents of this section and are not repeated in division 1 section "reference standards and definitions."

### Definitions in this Article do not change or modify the meaning of other terms used in the Contract Documents.

NOTE:  Revise paragraph below as appropriate for multiple prime contracts or special project requirements.

### Equals or Substitutions General:  Changes in products, materials, equipment, and methods of construction required by the Contract Documents proposed by the Contractor after award of the Contract.

#### Equal:  Any deviation from the specification which is defined as follows: A replacement for the specified material, device, procedure, equipment, etc., which is recognized and accepted as substantially equal to the first listed manufacturer or first listed procedure specified, after review, by the Architect and may be rejected or approved at the sole discretion of the owner.  All equals must be substantially equivalent to the first manufacturer or first procedure listed in the Specifications with reference to all of the following areas: the substance and function considering quality, workmanship, economy of operation, durability and suitability for purposes intended; size, rating and cost.  The equal does not constitute a modification in the scope of Work, the Schedule or Architect/Engineer’s design intent of the specified material, device, procedure, equipment, etc.

#### Substitution:  Any deviation from the specified requirements, which is defined as follows:  A replacement for the specified material, device, procedure, equipment, etc., which is not recognized or accepted as equal to the first manufacturer or procedure listed in the Specification after review by the Architect and may be rejected or approved by the Owner.  The Substitution is not equal to the specified requirement in comparison to the first manufacture or first procedure listed in the Specifications in one or more of the following areas: the substance and function considering quality, workmanship, economy of operation, durability and suitability for purposes intended; size; cost and rating.  The Substitution constitutes a modification in the scope of Work, the Schedule or the Architect/Engineer’s design intent of the specified material, device, procedure, equipment, etc.

#### The following are not considered to be requests for Equals or Substitutions:

##### Revisions to the Contract Documents requested by the Owner or Architect.

##### Specified options of products and construction methods included in the Contract Documents.

##### The Contractor's determination of and compliance with governing regulations and orders issued by governing authorities having jurisdiction.

NOTE:  See definitions for “Equal Substitution” and “Unequal Substitution” in Article 1 of the General Conditions.

## SUBMITTALS

NOTE: The “General Conditions” does not address equal substitution or substitution requests directly. The “Supplementary Conditions” reference procedures for consideration of “substitutions after contract award.  Paragraph and "substitutions" article below amplify requirements suggested by “Supplementary Conditions” ..

### A.	Equals and Substitution Request Submittals: The Owner will consider requests for equals or substitutions if received within time period designated in the General Conditions Article 15.  Requests received more than the days specified in Article 15 after the start date of the contract will be rejected.  The contractor shall submit all equal and substitutions requests on a “Substitution Request” form as required by the Owner.

#### The Contractor is required to prepare and submit 3 copies of the required data for the first manufacturer listed or procedure listed in the specifications section with reference to all of the following areas: the substance and function considering quality, workmanship, economy of operation, durability and suitability for purposes intended including the size, rating and cost.  All submissions must include all the required data for the first listed manufacturer or procedure as specified, as well as the required data for the proposed Equal or Substitution.  This will enable the Owner and Architect to determine that the proposed Equal or Substitution is or is not substantially equal to the first listed manufacturer or procedure.

#### Identify the product or the fabrication or installation method to be replaced in each request.  Include related Specification Section and Drawing numbers.

#### Provide complete documentation showing compliance with the requirements for equals or substitutions, and the following information, as appropriate:

NOTE:  Delete requirements below that are unnecessary or included in the “Supplementary Conditions”.  Modify, as necessary, retained subparagraphs to suit project.

##### Coordination information, including a list of changes or modifications needed to other parts of the Work and to construction performed by the Owner and separate contractors, that will be necessary to accommodate the proposed Equal or Substitution.

##### A detailed comparison chart of significant qualities of the proposed substitution with those of the Work specified.  Significant qualities may include elements, such as performance, weight, size, durability, and visual effect.

##### Product Data, including Shop Drawings and descriptions of products and fabrication and installation procedures.

##### Samples, where applicable or requested.

##### A statement indicating the effect on the Contractor's Construction Schedule or CPM Schedule compared to the schedule without approval of the Equal or Substitution.  Indicate the effect on overall Contract Time.

##### Cost information, broken down, including a proposal of the net change, if any in the Contract Sum.

##### The Contractor's certification that the proposed Equal or Substitution conforms to requirements in the Contract Documents in every respect and is appropriate for the applications indicated.

##### The Contractor's waiver of rights to additional payment or time that may subsequently become necessary because of the failure of the Equal or Substitution to perform adequately.

NOTE:  Revise subparagraph below if necessary to allow more time to the 2 weeks and two week approval and re-submittal process requests.

#### Architect's Action: If necessary, the Architect will request additional information or documentation for evaluation within one week of receipt of the original request for equal or substitution request.  The Architect will notify the Construction Administrator who will notify the Owner of recommended acceptance or rejection of the proposed equal or substitution, within (2) one weeks of receipt of the request, or (1) one week of receipt of additional information or documentation, whichever is later.  The Construction Administrator will give final acceptance or rejection by the Owner not less than (1) one week after notification.

##### Any request deemed an "Equal" and accepted by the Construction Administrator, Architect, Owner, and Agency will result in written notification to the Contractor and will not be in the form of a change order for an "Equal”.

##### Any request deemed a "Substitution" and rejected or approved by Construction Administrator, Architect, and Owner may result in written notification to the Contractor and may be in the form of a change order if the “Substitution” is approved.

# PART 2 - PRODUCTS

## 2.1	EQUAL OR SUBSTITUTIONS

### Conditions:  The Architect will consider the Contractor's request for Equal or Substitution of a product or method of construction when one or more of the following conditions are satisfied, as determined by the Architect.  If the following conditions are not satisfied, the Architect will return the requests to the Construction Administrator without action except to record noncompliance with these requirements.

NOTE:  Delete or modify conditions below that are not acceptable.  If desired, insert more restrictive conditions to limit consideration of proposed substitutions.

#### The proposed request does not require extensive revisions to the Contract Documents.

#### The proposed request is in accordance with the general intent of the Contract Documents.

#### The proposed request is timely, fully documented, and/or properly submitted.

#### The proposed request can be provided within the Contract Time.  However, the Architect will not consider the proposed request if it is a result of the Contractor’s failure to pursue the Work promptly or coordinate activities properly.

#### The proposed request will offer the Owner a substantial advantage, in cost, time, energy conservation, or other considerations, after deducting additional responsibilities the Owner must assume.  However, if the proposed request requires the Owner to incur additional responsibilities, including but not limited to, additional compensation to the Architect for redesign and evaluation services, increased cost of other construction by the Owner or similar considerations, then the Owner will have just cause to reject the request for Equal or Substitution.

#### The proposed request can receive the necessary approvals, in a timely manner, required by governing authorities having jurisdiction.

#### The proposed request can be provided in a manner that is compatible with the Work as certified by the Contractor.

#### The proposed request can be coordinated with the Work as certified by the Contractor.

#### The proposed request can uphold the warranties required by the Contract Documents as certified by the Contractor.

### The Contractor's submission and the Architect's review of Submittals, including but not limited to, Samples, Manufacturer’s Data, Shop Drawings, or other such items, which are not clearly identified as a request for an Equal or Substitution, will not be considered or accepted as a valid request for an Equal or Substitution, nor does it constitute an approval.

# PART 3 - EXECUTION (Not Applicable)

END OF SECTION 01631