To print this document the show/hide symbol (¶) must be off – this will enable the document to indicate the correct number of total pages.

NOTE:  This Section 01730 "Operation and Maintenance Data” includes administrative and procedural requirements for preparing and submitting operation, instruction, and maintenance manuals.  Edit paragraphs carefully to reflect specific project requirements, or delete them if they do not apply.

The header and footer for each page of the Project Manual shall match the format, font (Times New Roman), size (11 pt), font style (BOLD & CAPITALIZED) and line boarders, of the header and footer shown herein.. The header of each page shall contain the Section Number, the Section Title, and the page number & number of pages as shown herein. The footer shall contain the project number in the right hand side as shown herein, including the Table of Contents.  Division 0 and 1 contain a revision date in the left side of the footer This date is to remain as it is for Department informational purposes only and should not be altered by the Architect/Engineer.

DO NOT include Paragraphs or parts of Paragraphs in the project manual, which have no applicability to the specific project.  KEEP IN NUMERICAL SEQUENCE, If A PART IS NOT USED OR ELIMINATED THEN RENUMBER THE FOLLOWING SECTIONS.   IF A PART IS NOT APPLICABLE TO A SPECIFIC PROJECT THEN DESIGNATE IT AS (NOT APPLICABLE).  Also, please review the General Conditions carefully and coordinate the requirements of those Articles including the Definitions.

# PART 1 - GENERAL

## RELATED DOCUMENTS

### A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

## SUMMARY

### This Section includes administrative and procedural requirements for operation and maintenance manuals, including the following:

#### Preparing and submitting operation and maintenance manuals for building operating systems and equipment.

#### Preparing and submitting instruction manuals covering the care, preservation, and maintenance of architectural products and finishes.

### Related Sections:  The following Sections contain requirements that relate to this Section:

NOTE:  Retain subparagraphs below to reference the section that specifies the preparation of material frequently included in operation and maintenance manuals.

#### Division 1 Section 01300 "Submittals" specifies preparation of Shop Drawings and Product Data.

#### Division 1 Section 01650 "Starting of Systems" specifies instruction of the Owner and Agency operating personnel in the operation and maintenance of building systems and equipment and the general requirements for starting-up equipment and systems.

#### Division 1 Section 01700 "Contract Closeout" specifies general closeout requirements.

#### Division 1 Section 01740 "Warranties and Bonds" specifies requirements for submittal of warranties and bonds.

#### Appropriate Sections of Divisions 2 through 16 specify special operation and maintenance data requirements for specific pieces of equipment or building operating systems.

## QUALITY ASSURANCE

NOTE;  Paragraphs below establish high-quality assurance provisions.  For many projects, less stringent requirements are advisable.  Modify below to suit project.

### Maintenance Manual Preparation:  In preparation of maintenance manuals, use personnel thoroughly trained and experienced in operation and maintenance of equipment or system involved.

#### Where maintenance manuals require written instructions, use personnel skilled in technical writing where necessary for communication of essential data.

#### Where maintenance manuals require drawings or diagrams, use draftsmen capable of preparing drawings clearly in an understandable format.

### Instructions for the Owner and Agency Personnel:  The Contractor must use experienced instructors thoroughly trained and experienced in operation and maintenance of equipment or system involved,  to instruct the Owner's operation and maintenance personnel.

## SUBMITTALS

### Submittal Schedule:  Comply with the following schedule for submitting operation and maintenance manuals:

NOTE:  Usually retain subparagraph below.  It gives the architect an opportunity to review contents before substantial completion.  Revise number of copies required to suit project.

#### Before Substantial Completion, when each installation that requires operation and maintenance manuals is nominally complete, submit 2 draft copies of each manual to the Construction Administrator for review.  Include a complete index or table of contents of each manual.

NOTE:  Complex projects may require additional time.  Revise number of days for review to suit project.

##### The Construction Administrator will return 1 copy of the draft with comments within 21 Working Calendar Days of receipt.

NOTE:  Increase time indicated in 2 subparagraphs below, depending on the project's complexity..

##### Submit 3 copies of data in final form at least 21 Working Calendar Days before final inspection.  The Construction Administrator will return one copy within 21 Working Calendar Days after final inspection, with comments.

#### After final inspection, make corrections or modifications to comply with the Architect's comments.  Submit final copies to the Construction Administrator within 21 Working Calendar Days of receipt of the Architect's comments.

NOTE:  Paragraph below describes typical requirements for binding copies of operation and maintenance manuals.  Revise to suit project.

### Form of Submittal:  Prepare operation and maintenance manuals in the form of an instructional manual for use by the Owner's operating personnel.  Organize into suitable sets of manageable size.  Where possible, assemble instructions for similar equipment into a single binder.

NOTE:  Possibly revise subparagraphs below to satisfy other requirements.  An alternate binding would be post-type fasteners.  Other storage methods include heavy manila envelopes or fiberboard boxes.

#### Binders:  For each manual, provide heavy-duty, commercial-quality, 3-ring, vinyl-covered, loose-leaf binders, in thickness necessary to accommodate contents, sized to receive 8-1/2-by-11- inch (115-by-280-mm) paper.  Provide a clear plastic sleeve on the spine to hold labels describing contents.  Provide pockets in the covers to receive folded sheets.

NOTE:  Modify 2 subparagraphs below to suit project.

##### Where 2 or more binders are necessary to accommodate data, correlate data in each binder into related groupings according to the Project Manual table of contents.  Cross-reference other binders where necessary to provide essential information for proper operation or maintenance of the piece of equipment or system.

NOTE:  In subparagraph below, insert special requirements, such as indicating 5-digit section number on bottom of spine for identification.

##### Identify each binder on front and spine, with the printed title "OPERATION AND MAINTENANCE MANUAL," Project title or name, and subject matter covered.  Indicate volume number for multiple volume sets of manuals.

#### Dividers:  Provide heavy paper dividers with celluloid-covered tabs for each separate section.  Mark each tab to indicate contents.  Provide a typed description of the product and major parts of equipment included in the section on each divider.

NOTE:  Subparagraph below provides protection for troubleshooting software used in some sophisticated operation systems.  Delete requirements where unnecessary.

#### Protective Plastic Jackets:  Provide protective, transparent, plastic jackets designed to enclose diagnostic software for computerized electronic equipment.

NOTE:  Requirements below are normal.  Insert special requirements, such as special paper or plastic lamination of important items for permanent preservation, if circumstances warrant.

#### Text Material:  Where maintenance manuals require written material, use the manufacturer's standard printed material.  If manufacturer's standard printed material is not available, provide specially prepared data, neatly typewritten, on 8-1/2-by-11-inch (115-by-280-mm), 20-lb/sq. ft. (75-g/sq. m) white bond paper.

#### Drawings:  Where maintenance manuals require drawings or diagrams, provide reinforced, punched binder tabs on drawings and bind in with text.

##### Where oversize drawings are necessary, fold drawings to the same size as text pages and use as a foldout.

NOTE:  Avoid placing loose, oversize drawings in binder pockets.  They are often lost.  Use reduced drawings.  If not practical, place folded drawings in labeled envelopes and place envelopes in pockets or bind envelopes in the manual.

##### If drawings are too large to be used practically as a foldout, place the drawing, neatly folded, in front or rear pocket of binder.  Insert a typewritten page indicating drawing title, description of contents, and drawing location at the appropriate location in the manual.

NOTE:  Consider other special requirements, such as use of photographs instead of drawings, to demonstrate unusual installations.

## MANUAL CONTENT

### In each manual include information specified in the individual Specification Section and the following information for each major component of building equipment and its controls:

NOTE:  Modify list below to suit project.

#### General system or equipment description.

#### Design factors and assumptions.

#### Copies of applicable Shop Drawings and Product Data.

#### System or equipment identification, including:

##### Name of manufacturer.

##### Model number.

##### Serial number of each component.

#### Operating instructions.

#### Emergency instructions.

#### Wiring diagrams.

#### Inspection and test procedures.

#### Maintenance procedures and schedules.

#### Precautions against improper use and maintenance.

#### Copies of warranties.

#### Repair instructions including spare parts listing.

#### Sources of required maintenance materials and related services.

#### Manual index.

### Organize each manual into separate sections for each piece of related equipment.  As a minimum, each manual shall contain a title page; a table of contents; copies of Product Data, supplemented by drawings and written text; and copies of each warranty, bond, and service contract issued.

#### Title Page:  Provide a title page in a transparent, plastic envelope as the first sheet of each manual.  Provide the following information:

NOTE:  Revise list below to suit project.   Make appropriate revisions if the project is performed under multiple prime contracts.

##### Subject matter covered by the manual.

##### Name and address of the Project.

##### Date of submittal.

##### Name, address, and telephone number of the Contractor.

##### Name and address of the Architect and Construction Administrator.

##### Cross-reference to related systems in other operation and maintenance manuals.

NOTE: Revise subparagraph below if the project is performed under multiple prime contracts.

#### Table of Contents:  After title page, include a typewritten table of contents for each volume, arranged systematically according to the Project Manual format.  Include a list of each product included, identified by product name or other appropriate identifying symbol and indexed to the content of the volume.

##### a.	Where a system requires more than one volume to accommodate data, provide a comprehensive table of contents for all volumes in each volume of the set.

NOTE:  Modify subparagraph below to suit project.  For simple projects that require few manuals, include this information on title page.

#### General Information:  Provide a general information section immediately following table of contents, listing each product included in the manual, identified by product name.  Under each product, list the name, address, and telephone number of the subcontractor or Installer and the maintenance contractor.  Clearly delineate the extent of responsibility of each of these entities.  Include a local source for replacement parts and equipment.

NOTE:  Coordinate subparagraph below with Division1 sections "Submittals" and "Contract Closeout."  Make certain there are sufficient copies of product data sheets to include in the manuals.  Possibly insert specific requirements, such as the method for highlighting text or tabular material.

#### Product Data:  Where the manuals include manufacturer's standard printed data, include only sheets that are pertinent to the part or product installed.  Mark each sheet to identify each part or product included in the installation.  Where the Project includes more than one item in a tabular format, identify each item, using appropriate references from the Contract Documents.  Identify data that is applicable to the installation, and delete references to information that is not applicable.

NOTE:  Revise subparagraph below to suit project.  Add special operating procedures, if necessary.

#### Written Text:  Prepare written text to provide necessary information where manufacturer's standard printed data is not available, and the information is necessary for proper operation and maintenance of equipment or systems.  Prepare written text where it is necessary to provide additional information or to supplement data included in the manual.  Organize text in a consistent format under separate headings for different procedures.  Where necessary, provide a logical sequence of instruction for each operation or maintenance procedure.

NOTE:  Coordinate subparagraph below with Division 1 Section "Contract Closeout."  Require additional record drawings to include in operation and maintenance manuals.  If necessary, modify Division 1 Section "Contract Closeout."

#### Drawings:  Provide specially prepared drawings where necessary to supplement manufacturer's printed data to illustrate the relationship of component parts of equipment or systems or to provide control or flow diagrams.  Coordinate these drawings with information contained in project record drawings to assure correct illustration of the completed installation.

NOTE:  Retain subparagraph below.  It is not advisable to use record drawings in operation and maintenance manuals.

##### a.	Do not use original Record Documents as part of operation and maintenance manuals.

NOTE:  Subparagraph below provides information in the event of product failure.  It may be necessary to provide additional information for specific products.

#### Warranties and/or Bonds:  Provide a copy of each warranty and/or bond in the appropriate manual for the information of the Owner's operating personnel.  Provide written data outlining procedures to follow in the event of product failure.  List circumstances and conditions that would affect validity of warranty or bond.

## MATERIAL AND FINISHES MAINTENANCE MANUAL

NOTE:  In paragraph below, change number of copies required to suit project. Increase or decrease the required number of copies after final inspection as required for specific project, consult with agency

### Submit 4 copies of each manual, in final form, on material and finishes to the Construction Administrator for distribution.  Provide one section for architectural products, including applied materials and finishes.  Provide a second section for products designed for moisture protection and products exposed to the weather.

#### 1.	Refer to individual Specification Sections for additional requirements on care and maintenance of materials and finishes.

### Architectural Products:  Provide manufacturer's data and instructions on care and maintenance of architectural products, including applied materials and finishes.

#### Manufacturer's Data:  Provide complete information on architectural products, including the following, as applicable:

NOTE: Modify list below to suit project.

##### Manufacturer's catalog number.

##### Size.

##### Material composition.

##### Color.

##### Texture.

##### Reordering information for specially manufactured products.

#### Care and Maintenance Instructions:  Provide information on care and maintenance, including manufacturer's recommendations for types of cleaning agents to be used and methods of cleaning.  Provide information on cleaning agents and methods that could prove detrimental to the product.  Include manufacturer's recommended schedule for cleaning and maintenance.

### Moisture Protection and Products Exposed to the Weather:  Provide complete manufacturer's data with instructions on inspection, maintenance, and repair of products exposed to the weather or designed for moisture-protection purposes.

#### 1.	Manufacturer's Data:  Provide manufacturer's data giving detailed information, including the following, as applicable:

NOTE:  Modify list below to suit project.

##### Applicable standards.

##### Chemical composition.

##### Installation details.

##### Inspection procedures.

##### Maintenance information.

##### Repair procedures.

## EQUIPMENT AND SYSTEMS MAINTENANCE MANUAL

NOTE:  In paragraph below, change number of copies required to suit project.  For many projects, the architect should retain a copy of each manual.  Increase or decrease the required number of copies after final inspection as required for specific project, consult with agency

### Submit 4 copies of each manual, in final form, on equipment and systems to the Construction Administrator for distribution.  Provide separate manuals for each unit of equipment, each operating system, and each electric and electronic system.

#### 1.	Refer to individual Specification Sections for additional requirements on operation and maintenance of the various pieces of equipment and operating systems.

### Equipment and Systems:  Provide the following information for each piece of equipment, each building operating system, and each electric or electronic system.

#### Description:  Provide a complete description of each unit and related component parts, including the following:

NOTE:  Modify list below to suit project.

##### Equipment or system function.

##### Operating characteristics.

##### Limiting conditions.

##### Performance curves.

##### Engineering data and tests.

##### Complete nomenclature and number of replacement parts.

#### Manufacturer's Information:  For each manufacturer of a component part or piece of equipment, provide the following:

NOTE:  Modify list below to suit project.

##### Printed operation and maintenance instructions.

##### Assembly drawings and diagrams required for maintenance.

##### List of items recommended to be stocked as spare parts.

#### Maintenance Procedures:  Provide information detailing essential maintenance procedures, including the following:

#### Operating Procedures:  Provide information on equipment and system operating procedures, including the following:

NOTE:  Modify list below to suit project.

##### Startup procedures.

##### Equipment or system break-in.

##### Routine and normal operating instructions.

##### Regulation and control procedures.

##### Instructions on stopping.

##### Shutdown and emergency instructions.

##### Summer and winter operating instructions.

##### Required sequences for electric or electronic systems.

##### Special operating instructions.

#### Servicing Schedule:  Provide a schedule of routine servicing and lubrication requirements, including a list of required lubricants for equipment with moving parts.

#### Controls:  Provide a description of the sequence of operation and as-installed control diagrams by the control manufacturer for systems requiring controls.

#### Identification Drawings:  Provide each Contractor's Identification Drawings.

##### a.	Provide as-installed, color-coded, piping diagrams, where required for identification.

#### Valve Tags:  Provide charts of valve-tag numbers, with the location and function of each valve.

#### Circuit Directories:  For electric and electronic systems, provide complete circuit directories of panel boards, including the following:

NOTE:  Modify list below to suit project.

##### Electric service.

##### Controls.

##### Communication.

NOTE:  Modify requirement below to suit project. When this option has been determined by the User Agency to be desirable, each section that should be utilizing this technique need to identify this paragraph in each section of the technical specifications, and then the A/E will provide within this section the following as a minimum guide to the Contractor.

### Video Tapes

#### For equipment which requires maintenance by operational personnel, provide a professionally developed Video Tape for the use of maintenance training for the facility.  Each tape will be accompanied by a written index which can be utilized to find any specific item of information by time or place on the tape.

#### The Contractor is responsible for this production.  This tape will be provided to the Construction Administrator at the same time as the delivery of the other maintenance material.

#### The master tape must be able to be edited for future changes to the equipment and modifications as they occur.

NOTE:  Other uses of this medium might wish to be considered, such as a walk through of the facility prior to its completion.  An example would be a video taping of all work above the ceiling which can reveal the location of all ductwork, piping, valve locations, filter locations, etc. before the installation of the ceiling.  Walk through of crawl spaces and other areas which might be difficult to see in the buildings final completion.

# PART 2 - PRODUCTS  (Not Applicable)

# PART 3 - EXECUTION  (Not Applicable)

END OF SECTION 01730