NOTE:  Include the following Sections that are appropiate in reference Inspection Reports for Asbestos Containing Material (ACM) and Lead Containing Material (LBP) disclosure and removal. Edit as required for specific project.

# PART 1 - GENERAL

## 1.1	RELATED DOCUMENTS:

### A.	Section 01120 – “Alteration Project Proceedures”.

## 1.2	DESCRIPTION OF WORK:

### Work Involving Asbestos Containing Material (ACM):

#### The Owner is responsible for abating all ACM that is visible and accessible. The abating of ACM is to be accomplished through a separate project prior to the start of all renovation work.

#### Testing for asbestos has been conducted at the facility scheduled for renovation, demolition, reconstruction, alteration, remodeling, or repair.  Results of the asbestos testing are for information purposes only. Under no circumstance shall this information be the sole means used by the Contractor for determining the extent of asbestos.  The Contractor shall be responsible for verification of all field conditions affecting performance of the Work.

#### The results of testing are contained herein, reference Section 01120 - Alteration Project Proceedures for more information on Work involving ACM.

### Work Involving Lead Containing Material (LBP):

#### This facility was constructed prior to 1978 and is likely to have painted surfaces containing lead-based paint. The Contractor shall conduct all demolition and removal Work, specified in the technical sections of this specification, in conformance with the regulations as specified in Section 01120 - Alteration Project Proceedures.

#### Testing for lead-based paint (LBP) has been conducted at the facility scheduled for renovation, demolition, reconstruction, alteration, remodeling, or repair.  The Results of the LBP testing are for information purposes only. Under no circumstance shall this information be the sole means used by the Contractor for determining the extent of LBP.  The Contractor shall be responsible for verification of all field conditions affecting performance of the Work.

#### The results of testing are contained herein, reference Section 01120 - Alteration Project Proceedures for more information on Work involving LBP.

END