To print this document the show/hide symbol (¶) must be off – this will enable the document to indicate the correct number of total pages.

NOTE:  Include the following Section in reference to SUBSURFACE INVESTIGATION Reports.  Edit Document number above according to project and table of contents.

## PART 1 - GENERAL

## 1.1	RELATED DOCUMENTS:

### Division 2 - Site Construction.

## DESCRIPTION OF WORK:

NOTE:  Edit the following.  Delete information not used.

- Boring Logs:

- The Boring Logs have been prepared for the site of this Work and are in the Contract Documents.

- Geotechnical Report(s):

- The Geotechnical Report(s) been prepared for the site of this Work and are in Volume       of this Project Manual.

- The Contractor must interpret such this report according to his own judgment and acknowledges that he is not relying upon the data as accurately describing the subsurface conditions which may be found to exist.

- The Contractor further acknowledges that he assumes all risk contingents upon the nature of the subsurface conditions which shall be actually encountered by him in performing the Work of this Contract.

- The Proposers should visit the site and become acquainted with all existing conditions and may make their own subsurface investigations to satisfy themselves as to the sub-surface conditions.  Such investigations shall be conducted only under time schedules and arrangements approved in advance by the Owner.

- Subsurface Contaminated Soils Investigations:

- If a Contaminated Soils Report has been prepared for this Project it would be included in Volume       of this Project Manual.  The Owner shall be responsible for the remediation and disposal of all Contaminated Soils when they are indicated in this report.

- If the Contractor should encounter any material suspect or known to contain Contaminated Soils, he should immediately notify the Owner of same.  It is the State’s responsibility to have the material tested and abated (if necessary). The Owner will respond within (2) two Working Calendar Days after receiving the Contractor’s written request for testing the suspect material.  The Owner shall arrange for the remediation and disposal of all Contaminated Soils (if necessary) within a reasonable time period, i.e. with (7) seven Working Calendar Days.

- No attempt has been made to locate hazardous material associated with existing site utilities, though it is presumed that at least some asbestos may be discovered associated with underground piping during the course of site and site utilities work.  If and when such materials appear, the Contractor shall notify the Owner, who shall direct additional work outside of this Agreement to assist in cutting up and disposing of same.  The Contractor shall assist the hazardous materials contractor(s) with excavating, heavy lifting, and the like at no additional cost to the Owner.

# END