| State of Connecticut | LIFE CYCLE COST ANALYSIS DETERMINATION REQUEST | Department of Public Works |
| --- | --- | --- |
| (To be submitted with Schematic Design Phase) |
| STATE OF CONNECTICUT DEPARTMENT OF PUBLIC WORK TECHNICAL SERVICES ENERGY UNIT 165 Capitol Avenue - Rm. 275, Hartford, CT. 06106 |
| Date Submitted: |  | DPW/TSU Date Received: |  |
| Part A. Project Data: |
| 1. Project Name: |  | 2. Project Location: (town) |  |
| 3. User State Agency |  | 4. State Agency Project Number |  |
| 5. Your A/E Firm Name: |  |
| 6. Name of Preparer: |  |
|  | Phone: |  | Fax: |  | e-mail: |  |
| Part B. Construction Category: (Indicate square footage for each category) | New |  | Gross Sq. Ft. |
|  | Addition |  | Gross Sq. Ft. |
|  | Renovation |  | Gross Sq. Ft. |
| Part C. Project Category: | State Owned Building; State Leased Building; School, State Funded; Other (specify):____________ |
| Part D. Is this project subject to the HPB Regulations promulgated under CGS 16a-38k(b): Yes – Section 16a-38k-2 (_____). Provide a copy of the Letter of Understanding (16a-38k(8)(a)), Part E documentation is not required. No this project is NOT subject to these regulations. Provide Part E documentation below. |
| Part E. Program Narrative: On a separate sheet(s), provide a narrative of the proposed new or retrofitted energy using systems (HVAC, domestic hot water, lighting, etc.). Describe any existing conditions that will limit your choice of systems or equipment. Provide a completed COMcheck or other documentation demonstrating compliance with the 2009 State Building Code Amendment energy conservation requirements. Describe proposed energy savings features such as demand control ventilation (CO2 control), heat recovery, high efficiency motors, variable speed motor controllers, and high efficiency transformers, etc. Describe temperature control system type and control capabilities. Include estimated design peak cooling and heating requirements. Include boiler and chiller type, size(s) and fuel type(s). Include operating schedule hours/ day, days/ week and weeks/ year anticipated. State whether or not this project will participate in a utility company energy conservation rebate program. If no participation, state reason(s). Describe the level of LEEDS certification, if applicable. If the project is not anticipating certification, list any “Green Building” features that are planned for this project. |
| (To Be Filled In By DPW Chief Engineer) Determination: In accordance with CGS 16a-38 and CGS 16a-38j, we have determined that this project will will not require a more detailed life cycle cost analysis. Signed:_____________________________________________ Date:______________ Allen V. Herring, PE, DPW Chief Engineer |