## READ ME FIRST
READ ME FIRST
State of Connecticut |  |  |  | Department of Public Works
System Requirements: Microsoft Windows XP© or compatible software; Microsoft Excel© 2000 or later; Microsoft Word© 2000 or later. Some difficulty may be incurred with older editions.
Construction forms used by the State of Connecticut, Department of Public Works, Bureau of Design and Construction have been produced using either Microsoft Excel® or Microsoft Word® program formats. This formatting entails the use of macros to create graphics, formulas, etc. Under certain security restraints imposed by the configuration of your computer, these macros may be blocked since computer security cannot distinguish between a “good” macro, necessary to allow the form to be used, from a “bad” macro that may contain a virus and must, therefore, be disabled .
For this reason, upon opening certain forms, you might get a warning that the document may contain macros. If you do, you will have the option to enable or disable the macros. Since the macros in DPW BD&C forms are all legitimate, you can safely click on “Enable Macros.” Under certain circumstances, especially if your system security level is set at “Very High” or “High,” your computer may not permit the form to be opened in usable format. This may be overcome by lowering the security level of your computer.
To lower the security level of your computer:
On the Toolbar:
| 1. | Click on TOOLS
| 2. | Click on MACRO
| 3. | Click on SECURITY
| 4. | Click the MEDIUM option
| 5. | Click OK
| 6. | Reboot the computer
| 7. | Open and complete the form as necessary.
These construction forms are, also, electronically protected to preserve the formatting. Data may be entered in Excel® formatted forms only in the lightly bordered blank areas or, for Word® formatted forms, in gray shaded Text Form Fields. To enter data in a Text Form Field, click on the field (once or twice, depending on the configuration of your system), the form field will turn black and is then ready for entering data.
IMPORTANT: Any attempt to by-pass this protection or to change the formatting of these forms could make these forms inoperable. Contact the State of Connecticut, Department of Public Works, Bureau of Design and Construction, Process Management, for help. Telephone: 860.713.5693

## PROCEDURE AND INSTRUCTIONS
Equal or Substitute Product Request
State of Connecticut |  |  | Department of Public Works
Form 701 Equal or Substitute Product Request, is used by the Contractor to request the use of a product other than one of those indicated in the specifications by the Consultant. A separate Equal or Substitute Product Request form must be used for each requested Equal or Substitute product. The form is designed to be completed electronically or manually.
All Equals must be substantially equivalent to the first manufacturer or first procedure listed in the Specifications with reference to all of the following areas: the substance and function considering quality, workmanship, economy of operation, durability and suitability for purposes intended; size, rating and cost. An equal does not constitute a modification in the scope of Work, the Schedule, Consultant’s design intent of the specified material, device, procedure, equipment, etc.
A Substitution is not equal to the specified requirement when compared to the first manufacturer or first procedure listed in the Specifications. It may differ in one or more of the following areas: the substance, function, quality, workmanship, economy of operation, durability and suitability for purposes intended, size, rating and cost. A Substitution constitutes a modification in the scope of Work, the Schedule or the Consultant’s design intent of the specified material, device, procedure, equipment, etc.
The form is to be completed, in part, by the Contractor and forwarded to the Construction Administrator who will request the Consultant’s review.
If the Equal or Substitute product is approved by the Consultant, it is then returned by the Consultant to the CA who will, in turn, request approval by the DPW’s Director of Project Management. The Equal or Substitute Product may not be used until full approval is obtained from the Department of Public Works. Copies of the fully completed form will be forwarded by the CA to the Contractor, the SPM and PM. If the total cost of the Substitution, for material and labor, is less than that of the Specified Product then the difference in cost is returned to the State. If the cost of the Substitution, for material and labor, is greater than that of the Specified Product, the State may disapprove the Substitution or accept the Substitution with no additional cost to the State (Division 1, Section 00 25 00).
If the Equal or Substitute product is not approved by the Consultant, it is returned by the Consultant to the CA who will then so notify the Contractor. Copies will be forwarded by the CA to the SPM and PM.
Contractor's Instructions: Enter data in the lightly bordered spaces only
1 | Indicate whether this request is Pre-Bid or Post-Bid. If Post-Bid, check the Section or Sections of the General Conditions that are applicable.
2 | Enter the Number and Date of this of this request.
Enter the Project Number, Name and Location.
3 | Enter which Specification Section and Paragraph(s) describe the Specified Product.
Enter which Drawing Number and Detail(s) describe the Specified Product.
4 | Enter the Name of the Specified Product.
Enter the Name of the Proposed Product.
5 | Indicate whether the Proposed Product is an Equal or Substitute Product.
Enter the Model Number of the Proposed Product.
6 | Indicate How Long the Proposed Product has been on the market .
7 | Check which Required Data, for both Specified and Proposed products is attached.
8 | Give a short Resume of the reason(s) for this request.
9 | Indicate Where, if anywhere, the Proposed Product has been installed. Enter the Name of the project, its Location, the Name of the owner and consultant and the Date installed.
10 | Indicate if there is any Impact on any part of the Work of this project and, if so, provide a detailed Explanation.
11 | Indicate if there will be an Increase in the Contract Time and, if so, how many Days.
12 | If the cost of the Proposed Product is less than that of the Specified Product, Show the actual dollar savings that will accrue to the State of Connecticut. Provide manufacturer's or vendor's invoices for both the Specified and Proposed products.
12 | Enter the Name of the General Contractor and the Name and Title of the signatory signing for the General Contractor and the Date signed.
13 | Provide Copies of this request to the Supervising Project Manager, the Project Manager, the Construction Administrator and any others indicated.

## FORM 701
Equal or Substitute Product Request
State of Connecticut |  | SEE PROCEDURE AND INSTRUCTIONS |  |  |  |  | Department of Public Works
|  |  |  | Request No.: |  | Dated:
To: State of Connecticut |  |  |  | Department of Public Works Project Number:
Department of Public Works |  |  |  | Project Name
and Location:
References: | Specifications | - Section: |  |  | Paragraph(s):
| Drawings | - Drawing No.: |  |  | Detail(s):
Contractually Specified Product:
Contractor Proposed Product:
Proposed product is an |  |  | Product |  | Model Number:
Proposed product is
See attached data for both Specified and Proposed Products as required by Specifications Article 15, Section 00 72 00
Data attached:
Reason(s) for not providing the Specified Product:
Similar Installation:
Project: |  |  |  | Owner:
Location: |  |  |  | Consultant:
Date Installed:
Will proposed Substitute Product impact other parts of the Work?
Will proposed Substitute Product increase the Contract Time? | [6 empty] | Days
Actual Dollar Savings to the State of Connecticut if substitution is accepted:
The Undersigned Certifies that the proposed Request for an Equal or Substitute Product conforms to the Specifications for this project, Division 1, General Requirements, Section 00 25 00.
Request submitted by the General Contractor:
name
By:
| name | title |  | signature |  |  | date
CONTRACTOR - Send copies to: Supervising Project Manager - Project Manager - Construction Administrator
Consultant's Review - This Substitution Request is:
Approved - Make Submittals in accordance with Specification Section 00 33 00 Submittals.
Approved as Noted - Make Submittals in accordance with Specification Section 00 33 00 Submittals.
Rejected - Use Specified Material(s).
Rejected - Request Not Received Within Specified Time Period - Use Specified Material(s).
Review
Issued by:
| name |  |  | signature |  |  | date
Consultant -Send completed copies to: Chief Architect - Chief Engineer -SPM-PM-CA - Other:
If Approved: | As noted by Consultant,
Director of Project Management
|  |  |  | signature |  |  | date
Copy: Project File | File R2 | 0